Text Embedded Swin-UMamba for DeepLesion Segmentation

# Ruida Chenga, Tejas Sudharshan Mathaic, Pritam Mukherjeec, Benjamin Houb, Qingqing Zhub,

# Zhiyong Lub, Matthew McAuliffea, Ronald M. Summersc

a Scientific Application Services, Center of Information Technology, NIH

b Division of Intramural Research (DIR), National Library of Medicine (NLM), NIH

c Imaging Biomarkers and Computer-Aided Diagnosis Laboratory, Radiology and Imaging Sciences, 
Clinical Center, NIH

Abstract

Segmentation of lesions on CT enables automatic measurement for clinical assessment of chronic diseases (e.g., lymphoma). Integrating large language models (LLMs) into the lesion segmentation workflow offers the potential to combine imaging features with descriptions of lesion characteristics from the radiology reports. In this study, we investigate the feasibility of integrating text into the Swin-UMamba architecture for the task of lesion segmentation. The publicly available ULS23 DeepLesion dataset was used along with short-form descriptions of the findings from the reports. On the test dataset, a high Dice Score of 82.64 ± 17.36 % and low Hausdorff distance of 6.34 ± 10.48 (pixels) was obtained for lesion segmentation. The proposed Text-Swin-UMamba model outperformed prior approaches: 37.79% improvement over the LLM-driven LanGuideMedSeg model (p < 0.001), and surpassed the purely image-based xLSTM-UNet and nnUNet models by 2.58% and 1.01%, respectively. The dataset and code can be accessed at https://github.com/ruida/LLM-Swin-UMamba

# Keywords: Universal Lesion Segmentation, DeepLesion

# INTRODUCTION

Lesion assessment on CT is essential for early diagnosis, treatment planning, and longitudinal monitoring of chronic diseases, such as lung and liver cancer. 1,2 In current clinical practice, lesion size and characteristics (e.g., enhancement, attenuation attributes, irregularity) play a predominant role in the determination of malignancy of suspicious findings3,4,5. For example, the management of liver lesions follows the sizing guidelines of the American College of Gastroenterology1, while lung nodules are to be managed using an entirely different set of sizing guidelines from the Fleischner Society2. Accordingly, radiologists measure the long- and short axis diameters (LAD and SAD) of lesions, which serves as surrogate marker for malignancy. Moreover, it is cumbersome for radiologists to manually size the dimensions of several lesions during the busy clinical day, especially when faced with metastasis. Other confounding elements are the acquisition of CT studies on myriad scanners from different manufacturers and the diverse appearances and shape of lesions in these studies. Despite these variations, radiologists must dictate the size and characteristics of suspicious lesions into a report.

While several prior works for lesion segmentation have been proposed, few have investigated the utility of lesion descriptions present in the reports. In natural image domain, many prior works have incorporated Large Language Models (LLMs) for image segmentation or object detection tasks.6,7,8 However, porting their work to the medical image domain poses a significant challenge due to suboptimal segmentations as organs or tumors often have lower contrast, ambiguous boundaries, and complex anatomical relationships. Our approach does not rely on existing mainstream foundation models, such as ChatGPT9, because they are not open-sourced and cannot directly be trained or fine-tuned for task-specific medical image segmentation. An early study, Liu et al.10 explored a Contrastive Language Image Pre-training(CLIP)-driven universal model to tackle CLIP embedding for organ labels. Li et al.11 reported a text-augmented Transformer model for segmentation, L-ViT, while Zhong et al.12 used GuideDecoder and text prompts to enhance the segmentation results. All three architectures, in general, encoded text into the segmentation backbone, either guiding or improving the prediction of segmentation masks. Importantly, all three approaches missed the inclusion of a text decoder component due to the complexity of the relational memory-based architecture.13 Previous works by Yan et al.14,15 combined lesion features and short-form report text descriptions to learn relationships among related lesions, attributes, and surrounding anatomy.

In this study, we investigate the feasibility of adapting text-based embedding directly for lesion segmentation.  We present the Text-Swin-UMamba model that implements multiple language-embedding mechanisms (Text Tower19 and LLaVA-style23 encoder) to embed short-form report text descriptions into the decoder of Swin-UMamba14 for lesion segmentation. The model incorporates text features from the report text at multiple decoder stages, improving contextual understanding during lesion segmentation. Our method was compared against prior approaches (LanGuideMedSeg13, xLSTM-UNet20, and nnUNet21) and demonstrated improved lesion segmentation performance through fusion of text and imaging features.

Figure 1. The design of Text-Swin-UMamba where the Text Tower encodes short-form descriptions of clinical findings on 2D slices in the DeepLesion dataset and embeds them into the Swin-UMamba segmentation backbone.

# Methods

The overview of the proposed Text-Swin-UMamba architecture is shown in Figure 1.  The model is composed of three major building blocks: the Swin-UMamba image encoder, the Swin-UMamba image decoder, and the text tower encoder. We follow the Swin-UMamba implementation, a derivative of the fully automated and self-configuring nnU-Net framework, as the segmentation backbone of the proposed model. For the text embedding, we utilize the Text Tower19 encoder to convert short-form text from the radiology reports into textual feature representations.  The Text Tower building block aims to take a text report as input, tokenize it, pass it through a pre-trained “BioLord” model, and then produce a pooled (summarized) embedding for each text input.  The Tokenizer layer serves as a custom text preprocessing utility. The BioLord pretrained model can produce meaningful representations for clinical sentences.  The max pooling layer obtains a fixed-size embedding from the variable-length token embedding produced by the BioLord tokenizer. Max pooling selects, for each hidden dimension, the single token with the highest activation among all valid contextualized token embeddings.  Max pooling keeps the strongest feature value across all tokens.  The final output of the Text Tower is a fixed-size vector (e.g., 768 dimensions) that represents the semantic meaning of the entire input text report.

The language features are then integrated into the Swin-UMamba decoding path at multiple scales, particularly at five stages of the decoder, corresponding to feature maps (Figure. 1). The language feature is passed through a dedicated linear projection layer (Lang Fusion) to match the channel dimensions of the respective image features. The multimodal fusion mechanism between the Text Tower encoder and the Swin-UMamba decoder can guide the Swin-UMamba with text-based semantic information. A few other text encoding and fusion mechanisms are also implemented, such as LLaVA Text Tower, Bert-based encoding and fusion, and tail encoding (Please refer to Github repository for implementation detail).

# Experiments

Dataset. The ULS23 DeepLesion dataset17 was utilized as validated labels were available in this dataset. The dataset tailored from the original DeepLesion dataset, which contained 4427 unique patients across 10,594 studies, and 32,120 CT image slices (age: 57 ±18 years, 56% males, 44% females). The structured text description corresponding to a finding on a specific 2D slice in the original DeepLesion dataset (and annotated in the ULS23 dataset) was extracted. Each sentence provides detailed information, including its location (e.g., left lung, retroperitoneum), lesion type (e.g., nodule, mass, lymph node), and relevant attributes (e.g., hypoattenuation, enhancement, irregularity). The rationale for the choice of this dataset was due to the limited availability of datasets with annotated lesion and corresponding report text. For example, Qiu et al.16 did not release their lesion benchmark dataset, SegLesion. Each 2D CT image slice is 512x512 pixels in size. A significant number of lesion masks appear in a small or tiny region of the image slice, posing substantial challenges for direct lesion segmentation. The 2D CT image, its corresponding label from the ULS23 DeepLesion dataset, and the sentence description constituted our dataset, which was divided into training (n = 15040), validation (n = 3760), and testing (n = 1807) data subsets, respectively. The dataset was divided at the patient level with no overlap across the splits.

Comparisons. The proposed LLM-Swin-UMamba method was compared against prior approaches including LanGuideMedSeg 12, xLSTM-UNet 20, and 2D nnU-Net 21.

Implementation Details. Five-fold cross-validation is conducted in training and validation stage. All models are trained on a single NVIDIA V100x GPU with 32 GB of memory.   The loss function integrates the Dice coefficient loss with the cross-entropy loss.  AdamW optimizer with initial learning rate of 5e-3, scheduled via cosine anneal. The training epochs are set for 1500. The complete training phase for each model takes approximately 3 to 5 days to complete.

# RESULTS

Table 1 describes the results of the various models on the test dataset, while Figure 2 shows the distribution of Dice scores. Figure 3 details qualitative segmentation results overlaid on the CT. The proposed Text-Swin-UMamba model improved the Dice score by 37.79 % (82.64 % vs. 44.85 %, p < 0.001) over the LanGuideMedSeg model. Against other models without text embedding, it outperformed the xLSTM-UNet model by 2.58% (82.64 % vs. 80.06 %, p < 0.001) and achieved a slightly higher mean Dice score of 1.01% (p > 0.05) compared to the 2D nnU-Net model. Notably, the model obtained a lower HD error than the 2D nnU-Net (6.34 vs. 6.86 pixels).

Table 1. Testing phase comparison of segmentation models performance with the DeepLesion dataset.

|  | Mean Dice (%) | Jaccard (%) | Hausdorff95 (px) | Sensitivity (%) | Specificity (%) | Text Embed |
| --- | --- | --- | --- | --- | --- | --- |
| LanGuideMedSeg 12 | 44.85 ± 24.18 | 32.20 ± 21.41 | 14.86 ± 15.29 | 47.10 ±.26.20 | 99.23 ± 0.77 | ✓ |
| xLSTM-UNET20 | 80.06 ± 19.93 | 70.35 ± 22.05 | 7.52 ± 12.91 | 83.92 ± 16.08 | 99.76 ± 0.24 | × |
| nnUNet21 | 81.63 ± 18.37 | 72.25 ± 21.27 | 6.86 ± 11.56 | 83.56 ± 16.44 | 99.77 ± 0.23 | × |
| Text-Swin-UMamba | 82.64 ± 17.36 | 73.49 ± 20.64 | 6.34 ± 10.48 | 84.60 ± 15.40 | 99.82 ± 0.18 | ✓ |

Figure 2. Distribution of Dice scores for each model on the ULS23 test dataset

Figure 3. Qualitative results of segmentation of a liver lesion and a lymph node by the proposed Text-Swin-UMamba model compared against the other approaches.

# Ablation expriments

Motivated by Xing et al.24, we compare the effect of different pooling mechanisms for token-level embeddings in the Text Tower encoder. We replaced the original mean-pooling layer with a max-pooling layer and a weighted-average pooling layer, evaluated the segmentation performance. Table 2 summarizes the comparison of the DeepLesion dataset.

Table 2. Comparison of segmentation model performance using different Text Tower pooling layers on the DeepLesion dataset.

|  | Mean Dice (%) | Jaccard (%) | Hausdorff95 (px) | Sensitivity (%) | Specificity (%) | Text Embed |
| --- | --- | --- | --- | --- | --- | --- |
| mean pooling | 82.34 ± 17.66 | 73.20 ± 21.07 | 6.45 ± 10.99 | 82.56 ± 17.44 | 99.83 ± 0.17 | ✓ |
| weight average pooling | 82.22 ± 17.78 | 73.04 ± 21.16 | 6.58 ± 11.53 | 82.12 ± 17.88 | 99.82 ± 0.18 | ✓ |
| max pooling | 82.64 ± 17.36 | 73.49 ± 20.64 | 6.34 ± 10.48 | 84.60 ± 15.40 | 99.82 ± 0.18 | ✓ |

The max pooling mechanism achieved slightly better performance across most metrics.  However, the differences among the three pooling strategies were marginal.  The limited performance variation may be attributable to the nature of the short-form radiology report, which contains relatively few tokens; as a result, the pooling method may have less influence on the text embedding.

We further examined the impact of injecting the text-embedded features at all levels of the image decoder, including the bottleneck layer of the proposed Text-Swin-UMamba architecture. Table 3 presents the quantitative comparison between full-scale injection and injecting the text feature only at the decoder stage.

Table 3. Comparison of segmentation model performance using different text feature injections on the DeepLesion dataset.

|  | Mean Dice (%) | Jaccard (%) | Hausdorff95 (px) | Sensitivity (%) | Specificity (%) | Text Embed |
| --- | --- | --- | --- | --- | --- | --- |
| full injection | 82.75 ± 17.25 | 73.56 ± 20.42 | 6.46 ± 10.76 | 84.08 ± 15.92 | 99.79 ± 0.21 | ✓ |
| decoder only | 82.64 ± 17.36 | 73.49 ± 20.64 | 6.34 ± 10.48 | 84.60 ± 15.40 | 99.82 ± 0.18 | ✓ |

The full-scale text-feature injection achieved a modest improvement of 0.11% in the mean Dice score to decoder-only injection. Even though this result suggests that full injection contributes positively to performance, the overall gain remains marginal, likely due to the small amount of text in the short-form reports.

To further demonstrate the contribution of text information, we conduct experiment to evaluate between the original Swin-UMamba architecture (without text embedding) and the proposed Text-Swin-UMamba model. Table 4 exhibits the quantitative results.

Table 4. Comparison of segmentation model performance between Swin-UMamba and the proposed Text-Swin-UMamba on the DeepLesion dataset.

|  | Mean Dice (%) | Jaccard (%) | Hausdorff95 (px) | Sensitivity (%) | Specificity (%) | Text Embed |
| --- | --- | --- | --- | --- | --- | --- |
| Swin-UMamba | 81.53 ± 18.10 | 71.95 ± 20.91 | 6.72 ± 11.07 | 84.56 ± 15.44 | 99.77 ± 0.23 | x |
| Text-Swin-UMamba | 82.64 ± 17.36 | 73.49 ± 20.64 | 6.34 ± 10.48 | 84.60 ± 15.40 | 99.82 ± 0.18 | ✓ |

The Text-Swin-UMamba model achieves a 1.11% improvement in mean Dice score over the baseline Swin-UMamba architecture. Although the gain is moderate, the text-enhanced model consistently outperforms the baseline, indicating that incorporating short form radiology report information could provide complementary cues that contribute to DeepLesion segmentation.

# DISCUSSION

In this paper, we present only the initial research phase of our study.   Our final goal is to develop a unified framework that integrates LLM-based reasoning, lesion segmentation, bounding-box detection, and, ultimately, radiology report generation using the original DeepLesion dataset.  In this initial phase, we focused on evaluating the feasibility of embedding short-form diagnostic text into the Swin-UMamba architecture for lesion segmentation.  A primary contribution of the present work is the demonstration that text-based semantic features can be incorporated into nnUNet-derived architectures using a simple Text Tower mechanism.  At this stage, our approach does not yet include grounding models that explicitly localize anatomical regions referenced in the text.

Importantly, automatic text report generation has not yet been realized in nnUNet models in the current literature.  The second phase of our research will therefore focus on encoding long-form radiology reports, developing text decoders and enabling full report generation integrated with medical-imaging grounding models.  The follow-up work will directly address how text and image information can operate together in the clinical workflow.

As noted in the introduction, only a limited number of studies have explored text embedding for medical imaging segmentation and classification.   While prior works such as CLIP-driven embedding (Liu et al.10), L-ViT (Li et al.11), and GuideDecoder (Zhong et al.12) primarily embedded text into the segmentation backbone and did not include a text decoder because of the complexity associated with relational-memory architectures jointly trained with either the segmentation of detection backbone. Yan et al. 14,15 mapped each word in short-form reports to specific number using one-hot encodings to predict reports, which is fundamentally different from LLM-based embedding. Therefore, text-guided to guide or enhance medical image segmentation or detection remains an active research area with substantial opportunities for advancement, not a closed problem.

In the second phase of our work, we plan to integrate long-form text embedding, lesion localization, and report generation into a single unified architecture.   This unified system is intended to support and streamline clinical workflows, especially for lesion follow-up and documentation, where imaging findings and report text complement each other.

In our experiments, text embedding produced a modest improvement in segmentation performance—for example, a 1.01% increase in mean Dice score over the 2D nnUNet baseline. Although numerically small, this improvement reflects the contribution of additional semantic context that is not fully captured by 2D CT images alone. Short-form radiology report descriptions often include lesion type, coarse anatomical location, and qualitative attributes such as attenuation, enhancement, or irregularity. Even brief contextual cues can reduce ambiguity when imaging appearances are subtle or when multiple candidate structures exist within the same region. Accordingly, the inclusion of textual information helps stabilize segmentation outputs in clinically challenging cases.

The overall magnitude of improvement is limited by characteristics of the ULS23 dataset. The short-form text descriptions are typically one-sentence summaries that provide high-level context rather than detailed lesion attributes. Lesions are also centered and cropped to 256×256 pixels, greatly simplifying localization and reducing the need for text-based spatial cues. Furthermore, the use of isolated 2D slices restricts the interaction between text and image information, since many radiologic descriptors—such as lesion shape, irregular margins, or multilobulated structure—are intrinsically three-dimensional features.

Firstly, even moderate changes in Dice may have a substantial effect on the clinical outcome of lesion segmentation, which is the primary tool for deriving quantitative measurements such as long- and short-axis diameters, lesion volume, and changes in follow-up interval. More precise segmentation reduces differences in these measurements, which, in turn, can affect the determination of cancer grade, treatment monitoring under RECIST, and patient selection for follow-up imaging. Therefore, the increase in Dice numbers by a small margin can be equivalent to steady and dependable clinical ​‍​‌‍​‍‌​‍​‌‍​‍‌measurements.

Importantly, clinicians do not require pixel-perfect contours but rather reproducible and anatomically consistent segmentations. Inter-observer variability for manual contouring in CT frequently results in Dice scores in the 80%–90% range. Our model’s mean Dice of 82.64% falls within or slightly above typical inter-observer agreement, indicating that the model has the potential to achieve segmentation quality with clinically acceptable performance.

Even though our study operates on 2D slices, inter- and intra-observer variation remains relevant. Different radiologists may outline different parts of the same lesion because the contrast is low, the boundary is ambiguous, or the radiologist's subjective interpretation of the lesion extent. This variance sets a realistic ceiling for the Dice metric that can be improved, thus implying that future enhancements might need more detailed text descriptions, 3D volumetric context, or advanced multimodal reasoning rather than just architectural ​‍​‌‍​‍‌​‍​‌‍​‍‌changes.

Automated segmentation enables clinicians to reduce their workload. Although a detailed efficiency study is deferred to another phase, it is estimated that the Text-Swin-UMamba model envisaged takes, on average, 0.518 seconds to produce a segmentation mask for a single 2D slice. This time also includes image loading and text processing. Manual contouring usually takes several tens of seconds per lesion, and even more for irregular lesions. Therefore, a mere partial automation could significantly improve the speed of lesion evaluation in clinical routine, especially in multi-lesion or longitudinal studies.

​‍​‌‍​‍‌​‍​‌‍​‍‌

# CONCLUSION

The proposed Text-Swin-UMamba model incorporated the Text Tower embedding mechanism into the Swin-UMamba multi-scale decoder to facilitate lesion segmentation. Our model achieved the best segmentation results with a mean Dice score of 82.64% and HD error of 6.34 pixels. It surpassed a similar model with text embedding, LanGuideMedSeg, by 37.79% (p < 0.001), while also posting moderate and consistent gains over purely image-based segmentation models, such as xLSTM-UNet (2.58%, p < 0.001) and nnUNet (1.01%, p > 0.05).

Our results indicate that incorporating short-form text descriptions of findings from the radiology reports can yield a noticeable advantage for lesion segmentation. The clinical context provided by both the imaging and text features guided the network to yield good segmentation results. However, our work has limitations. First, the experimental design utilizes the ULS23 DeepLesion dataset, where lesions are centered on 256×256 images to simplify the segmentation task relative to the original 512×512 images from the original DeepLesion dataset. Such specific design for the dataset constrains the generalizability of our proposed model to more realistic scenarios, where lesions are small compared to surrounding anatomy. Second, other architectural variations, such as a decoder for long-form text generation or relational memory modules13, have not been investigated due to their implementation complexity. Third, our approach is currently designed only for 2D images. While it can be easily extended to 3D volumes, this has not been attempted in this pilot work. In summary, Text-Swin-UMamba presents a simple approach to integrate language-guided reasoning for lesion segmentation. The text embedding mechanism can be applied to any nnU-Net model (and its derivatives). We open-source our dataset and code for further research. Future work is targeted towards scaling the approach to full-size CT volumes and enabling long-form descriptions of findings to pre-fill into the reports 22, which may enhance the explainability of lesion segmentation.

Acknowledgements

This work was supported by the Intramural Research Program of the NIH Clinical Center (project number 1Z01 CL040004), National Library of Medicine, and Center for Information Technology. The research used the high-performance computing facilities of the NIH Biowulf cluster.

References

C. Frenette, M. Mendiratta-Lala, R. Salgia, R.J. Wong, B.G. Sauer, A. Pillai., “ACG Clinical Guideline: Focal Liver Lesions,” Am. J. Gastroenterology, 119 (7), (2024).

A.A. Bankier, H. MacMahon, J.M. Goo, G.D. Rubin, C.M. Schaefer-Prokop, and D.P. Naidich, “Recommendations for Measuring Pulmonary Nodules at CT: A Statement from the Fleischner Society,” Radiology, 285 (2), 584-600, (2017).

T. Sheng, T.S. Mathai, A. Shieh, R.M. Summers, "Weakly-Supervised Detection of Bone Lesions in CT," proc. SPIE: Medical Imaging, 129270Q, (2024).

T.S. Mathai, B. Hou, R.M. Summers, "Longitudinal assessment of lung lesion burden in CT," proc. SPIE: Medical Imaging, 134072P, (2025).

T. Mattikalli, T.S. Mathai, R.M. Summers, "Universal lesion detection in CT scans using neural network ensembles," proc. SPIE: Medical Imaging, 120333D, (2022).

Xin Lai, Zhuotao Tian, YuKang Chen, Yanwei Li, Yuhui Yuan, Shu Liu, and Jiaya Jia, “LISA: reasoning segmentationvia large language model,” arXiv preprint arXiv:2308.00692, (2023).

Haotian Liu, Chunyan Li, Qingyang Wu, and Yong Jae Lee, “Visual instruction tuning,” arXiv: 2304.08485, (2023).

Ao Zhang, Yuan Yao, Wei Ji, Zhiyuan Liu, and Tat-Seng Chua, “NEXT-Chat: An LLM for Chat, Detection and Segmentation,”  In Processing of the 41st International Conference on Machine Learning, pages 60116-60133, (2024).

OpenAI. ChatGPT (March 15 version) [Large language model]. https://chat.openai.com/, (2024).

Jie Liu, Yixiao Zhang, Jie-Neng Chen, Junfei Xiao, Yongyi Lu, Bennet A. Landman, anYixuan Yuan, Alan Yuille, Yucheng Tong, and Zongwei Zhu, “Clip-Driven Universal Model for Organ Segmentation and Tumor Detection,”  In Proceedings of IEEE/CVF International Conference on Computer Vision, (2023).

Zihan Li, Yunxiang Li, Qingde Li, Puyang Wang, Dazhou Guo, Le Lu, Dakai Jin, You Zhang, Qingqi Hong, “Lvit: language meets vision transformers in medical image segmentation,” IEEE Transaction on Medical Imaging, PP(99):12, (2023).

Yi Zhong, Mengqiu Xu, Kongming Liang, Kaixin, Chen, Ming Wu, “Ariadne’s Thread: Using text prompts to improve segmentation of infected areas from Chest X-ray images,” International Conference on Medical Imaging Computing and Computer-Assisted Intervention, pages:722-733, (2023).

YongHeng Sun, Yueh Z. Lee, Genevieve A. Woodard, Hongtu Zhu, Chunfeng Lian, Mingxia Liu, “R2Gen-Mamba: A selective state space model for radiology report generation,” IEEE 22nd International Symposium of Biomedical Imaging(ISBI), Houston, TX, USA, 2025, pp. 1-4, doi:10.1109/ISBI60581.1015.10980814. (2025).

Ke Yan, Xiaosong Wang, Le Lu, Ronald M. Summers, “DeepLesion: Automated deep mining, categorization and detection of significant radiology image finding using large-scale clinical lesion annotations,” Journal of Medical Imaging, 5(3), 036501. (2018).

Ke Yan, Xiaosong Wang, Le Lu, Ling Zhang, Adam P. Harrison, Mohammadhadi Bagheri, and Ronald M. Summers, “Deep Lesion Graphs in the wild: relationship learning and organization of significant radiology image findings in a diverse large-scale lesion database,” Proceedings of IEEE Computer Vision and Patten Recognition (CVPR). (2018).

Yu Qiu, Jing Xu, “Delving into universal lesion segmentation: method, dataset and benchmark,” Proceedings of the European Conference on Computer Vision (ECCV). (2022).

M.J.J. de Grauw, E.Th. Scholten, E.J. Smit, M.J.C.M. Rutten, M. Prokop, B. van Ginneken, A. Hering, “The ULS23 challenge: A baseline model and benchmark dataset for 3D universal lesion segmentation in computed tomography,” Medical Image Analysis, Volume 102, 103525, ISSN 1361-8415. (2025).

Jianrun Liu, Hao Yang, Hong-Yu Zhou, Yan Xi, Lequan Yu, Cheng Li, Yong Liang, Guangming Shi, Yizhou Yu, Shaoting Zhang, et al, “Swin-UMamba: Mamba based unet with imagenet-based pretraining,” In International Conference on Medical Image Computing and Computer-Assisted Intervention (MICCAI). Springer, 615-625. (2024).

Ziheng Zhao and Yao Zhang and Chaoyi Wu and Xiaoman Zhang and Ya Zhang and Yanfeng Wang and Weidi Xie, “One Model to Rule them All: Towards Universal Segmentation for Medical Images with Text Prompt,” arXiv preprint arXiv:2312.17183, (2023).

Tianrun Chen, Chaotao Ding, Lanyun Zhu, Yan Wang, Deyi Ji, Ying Zang, Zejian Li, “xLSTM-UNet can be an effective backbone for 2D and 3D biomedical image segmentation better than its Mamba counterparts,” IEEE EMBS International Conference on Biomedical and health Informatics (BHI), pp.1-8. (2024).

Fabian Isensee, Paul F. Jaeger, Simon A. A. Kohl, Jens Petersen, Klaus H. Maier-Hein, “nnU-Net: a self-configuring method for deep learning-based biomedical image segmentation,” Nat Methods 18, 203-211. (2021).

Q. Zhu, T.S. Mathai, P. Mukherjee, Y. Peng, R.M. Summers, Z. Lu, “Utilizing Longitudinal Chest X-Rays and Reports to Pre-fill Radiology Reports,” MICCAI, 14224, (2023).

Haotian Liu, Chunyuan Li, Yuheng Li, Yong Jae Lee, “LLaVA: Large language and vision assistant,” arXiv preprint arXiv:2304.0805, (2023).

Jinming Xing, Ruiling Xing, Yan Sun, “Comparative Analysis of Pooling Mechanisms in LLMs: A Sentiment Analysis Perspective,” arXiv preprint arXiv:2411.14654v1, (2024).